## Slide 1
image area: 15.75 x 8.4
(best for rectangular maps/figures)
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
PERSPECTIVE VIEW
270 Dorchester Avenue South Boston, Massachusetts
THE CHANDLERY
PISANI + ASSOCIATES
A R C H I T E C T S
©

## Slide 2
General Information and Project Description
270 Dorchester Ave LLC (the “Proponent”) submits this “expanded” Project Notification Form (PNF) to the Boston Planning and Development Agency (the “BPDA”) to initiate the Article 80B, Large Project Review process required by the Boston Zoning Code and Enabling Act for construction of a new mixed use development consisting of a residential building with associated ground-floor retail at the terminus of Dorchester Avenue, Haul Road and B Street in South Boston (the “Project”). The Project will be known as “The Chandlery, 270 Dorchester Avenue.”
This chapter provides an overview of the existing site conditions and describes the Project and its public benefits, and identifies the anticipated required permits and approvals. This chapter also describes how the Project is consistent with applicable plans and policies.
Site Context and Existing Conditions
The approximately 0.5 acre Project Site, located in South Boston, is bounded by Dorchester Avenue, B Street, W 6th Street, and the South Boston Bypass (Haul Road) (Figure 1.1). Directly adjacent to the Site are a one-story structure (with an associated access-way from W 6th Street) and a freight rail line within the Haul Road right-of-way (Figure 1.2).
The Site consists of two parcels of land which are being combined: 284 Dorchester Avenue and 270 Dorchester Avenue, with the combined lot to be known as 270 Dorchester Avenue. 284 Dorchester Avenue contains a single story 863 square foot commercial building, formerly occupied by Chuck & Ann’s Submarines restaurant, and a pole-mounted billboard. 270 Dorchester Avenue contains a 23,892 square foot warehouse, currently occupied by C.G. Edwards Co. Inc. Marine Chandlery and Industrial Hardware and Supplies, and Ultimate Self Defense Performance Center (Figures 1.3 and 1.4).
The Site is virtually impervious, but does contain one tree. Portions of the Site are bordered or enclosed by a chain link fence. There are multiple vehicular access points including two curb cuts each on Dorchester Avenue and B Street, and one curb cut on West 6th Street. Loading docks are located on W 6th Street. Sidewalks are located on all three streets.

## Slide 3
Expanded Project Notification Form – The Chandlery, 270 Dorchester Avenue
The Project Site is approximately 0.3 miles from the MBTA Red Line’s Broadway Station and 0.6 miles from Andrew Station. Immediately southeast of the Site is a low-rise residential development. To the north are low-rise commercial/industrial buildings. To the west is an MBTA bus and train maintenance facility.
Recent developments in the area include Eleven West Broadway (50 residential units and 8,000 sf of retail). Developments in the planning stages and/or under construction include 248 Dorchester Avenue (33 residential units with 4,400 sf of retail); 30 B Street (32 condominiums); 39 A Street (23 condominiums); 120 West 4th Street (9 residential units); 14 West Broadway (47 residential units and office/retail/restaurant space); 22-26 West Broadway Street (31 residential units and 3,800 sf of retail); 45 West 3rd Street (105 residential units and 2,200 sf of retail); and 148-152 Dorchester Avenue Phase II (30 condo units), among others. A more detailed description of these developments in included in Section 4.5.1 of this report.
Project Description
The Project intends to provide workforce housing that is affordable to middle class households in a neighborhood that is otherwise out of reach for many.1 A new eight-story mixed use building will include a total of 150 residential units, 70 of which will be affordable affordable in conformance with the BPDA’s Inclusionary Development Policy.
Approximately 6,590 sf of retail space will be constructed on the first two levels. This space will be occupied by Ultimate Self Defense Gym (currently located on the Site), a commercial automobile rental company, and a community-oriented use such as a restaurant.
For those residents who rely primarily on public transit, the Project provides easy access to several MBTA subway stations and bus lines. Shopping, recreation and employment opportunities are located within a comfortable ten- to twenty-minute walk. For those who have personal vehicles, parking will be available in a 120-space below grade parking garage that will utilize an environmentally-friendly automated parking system. A portion of the parking will be reserved for the automobile rental company’s rental and shared vehicles, which will be available to both residents and the public.
The Project also includes approximately 12,400 sf of multi-level private and public open space, with a sunny courtyard acting as the Project’s centerpiece. The Project will be designed, constructed, and managed to be LEED Silver certifiable (Figure 1.5).

1 According to Housing a Changing City, Boston 2030 (City of Boston, 2014), Bostonians with a household income of $80,000 have only moderate access to rental housing in the South Boston neighborhood, and they are virtually priced out of homeownership opportunities in that location.

## Slide 4
Expanded Project Notification Form – The Chandlery, 270 Dorchester Avenue
1.2.1
Development Program
The proposed development program is detailed in Table 1.1 below. Figures 1.6a-b present Project Renderings, and Figures 1.7a-f present Project Floor Plans.
TABLE 1.1 PROPOSED DEVELOPMENT PROGRAM
1.2.2
Schedule
The Construction period for the proposed Project is expected to last 15-18 months, beginning in the 4th Quarter of 2017 and reaching completion and occupancy in the 2nd Quarter of 2019.
1.2.3
Summary of Public Benefits
The Project is expected to provide a number of public benefits, including:
Revitalization of an underutilized parcel
New transit-oriented workforce housing
On-site affordable housing
Improved streetscapes including trees, plantings, seating, and lighting
New pedestrian plaza
New retail space
Maintenance of existing community-oriented uses
Improved stormwater management
Element | Size
Lot Area | 21,063 sf
Building Gross Square Footage | 119,250 sf
FAR | 5.67
Stories | Up to 8
Height | 90’ Dorchester Ave; 50’ B Street
Residential Units | 150 units
Studio | 24 units
1 Bedroom | 97 units
2 Bedroom | 29 units
Affordable Units (included in unit count above) | 70 units
Commercial/Office | 6,590 sf
Open Space | 12,400 sf
Parking | 120 spaces
Bicycle Parking | 50 (40 indoor, 10 outdoor)

## Slide 5
Expanded Project Notification Form – The Chandlery, 270 Dorchester Avenue
Regulatory Context
This section describes the local planning and regulatory controls applicable to the Project and lists the anticipated permits and approvals.
1.3.1
Neighborhood/Corridor Plans
Plan: South Boston Dorchester Ave
In July of 2015, the BPDA began a neighborhood planning study encompassing the Dorchester Avenue Corridor between Andrew Square and Broadway Station, which is considered a prime corridor for transit-oriented development. The goal of this study and planning process is to create new zoning that aligns the aspirations of the community with predictable, as-of-right development conditions that will enhance overall livability in the area. The study will examine and determine the compatibility of different uses including retail, housing, light industrial, as well as other commercial uses. Of particular focus are the area’s underutilized light industrial buildings and their potential transformation and contribution to the Corridor’s future. The Project is located within the area covered by Plan: South Boston Dorchester Avenue and is consistent with the goals and initiatives currently being discussed for Dorchester Avenue and the Project Site. Efforts will continue to be made to comply with the anticipated outcomes of the planning initiative with respect to use, density and urban design goals.
1.3.2
Anticipated Permits/Approvals
Table 1.2 lists those permits and approvals from local governmental agencies that are anticipated to be required for the Project.
TABLE 1.2 ANTICIPATED PROJECT PERMITS AND APPROVALS
Agency/Department | Permit/Approval/Action
Boston Redevelopment Authority | Article 80B Large Project Review Cooperation Agreement Affordable Housing Agreement Boston Residents Construction Employment Plan Agreement Certification of Compliance
Zoning Board of Appeals | Variances for: Dwellings in non-residential district Additional lot area required Floor Area Ratio [FAR] excessive Front Yard insufficient Side Yard insufficient Building height excessive Usable open space insufficient Conditional Use Permit for: Restricted Parking Overlay District [RPOD] for non-residential parking  Car Rental Agency/Wash Bay

## Slide 6
Expanded Project Notification Form – The Chandlery, 270 Dorchester Avenue
1.3.3
Local Planning and Regulatory Controls
This Project is subject to the Boston Zoning Base Code, as established by the Enabling Act, 1956 Mass. Acts, c. 665. Since the proposed Project is to construct a building or structure having a gross floor area of 50,000 or more square feet, it is subject to review by the BPDA pursuant to Article 80B-2(2)(a).
City of Boston Zoning Code
The Project Site is located within the South Boston zoning district and an M-1 zoning sub-district [Restricted Manufacturing]. It is subject to the Restricted Parking Overlay District [RPOD] established by Article 3-1A(c). The Project Site is located on the City of Boston Zoning Map No. 4.
Table 1.3 below outlines the dimensional regulations for the M-1 district as well as the proposed Project dimensions. Pursuant to Article 13-4, dwellings in an M subdistrict shall comply with the lot area, lot width, usable open space, and yard requirements of the nearest H district.
TABLE 1.3 ZONING CODE DIMENSIONAL REGULATIONS VS. PROPOSED PROJECT DIMENSIONS
Agency/Department | Permit/Approval/Action
Boston Transportation Department | Construction Management Plan (CMP) Transportation Access Plan Agreement (TAPA) Loading dock/commercial parking review Curb-cut approval (if required)
Boston Water & Sewer Commission | Water and Sewer Connection Permits Construction Dewatering Discharge Permit General Service Application Site Plan Review
Boston Landmarks Commission | Article 85 Demolition Delay Demolition List of Buildings
Public Works Department | Curb-cut Permit
Public Improvement Commission | Review of Specific repairs to sidewalks Review of street trees/tree pits/furniture
Committee on Licenses | Garage Fuel Storage Permit
Boston Inspectional Services Department | Demolition Permit Foundation Permit Building Permit Certificate(s) of Occupancy
Boston Fire Department | Assembly Permit for Gym use
Dimensional Requirements | M-1 District | Proposed Project
Lot Area (min per DU) | 5,000 | 21,063
Additional Lot Area (per add’l DU) | 1,000 | 280
Lot Width (min feet) | 50 | 151.62
Lot Frontage (min feet) | None | 151.62
FAR (max) | 1.0 | 5.62
Building Height Max (stories, feet) | None | 90’ and 50’

## Slide 7
Expanded Project Notification Form – The Chandlery, 270 Dorchester Avenue
Based upon the plans submitted to the Inspectional Services Department for administrative zoning review in April 2015, the following zoning violations were set forth by ISD in a zoning code refusal letter:
Article 13-4
Article 14-2
Article 15-1
Article 18-1
Article 19-1
Article 16-1
Article 16-1
Article 17-1
Article 8-6
Article 80B
Article 85
dwellings in non-residential district
lot area for additional dwelling units is insufficient floor area ratio is excessive
front yard insufficient on Dorchester Avenue and W. Sixth St.
side yard insufficient
building height excessive [stories exceed 2 ½] building height excessive: exceeds 35’
Usable Open Space insufficient
pre-existing conditional uses Large Project Review applicability Demolition Delay
Since the submission of the original plans to ISD, the scope of the Project has changed in response to community and BPDA feedback, review and input. Accordingly, revised plans representing the scope of the Project subject to this Article 80B review have been submitted to ISD for a revised zoning code refusal letter. It is expected that the same violations will be identified. Based on revised plans for the parking garage, it is anticipated that an additional zoning code provision is implicated. A rental car agency will occupy a portion of the retail space and garage. Accordingly, a conditional use permit will be required under Article 8-7, Table A, Use Item No. 61.
City of Boston Zoning Code Article 80B– Large Project Review
The Proponent has commenced Large Project Review under Article 80B of the Code with the filing of a Letter of Intent (LOI) with the BPDA on June 4, 2015 that indicated the Proponent’s intent to file an “expanded” PNF in connection with the Project. A revised LOI was filed on February 9, 2016 to reflect the changes in the Project since the filing of the original LOI. Copies of these letter are provided in Appendix A.
This EPNF aims to meet the requirements of City of Boston Article 80B Large Project Review, presents details about the Project and provides an analysis of transportation, environmental protection, infrastructure, and other components of the proposed Project, in order to inform
Dimensional Requirements | M-1 District | Proposed Project
Usable Open Space (min sf per DU) | 400 | 121.4 sf
Front Yard (min depth feet) | 20 | 10’ on Dorchester Ave; 5’ on B Street
Side Yard (min depth feet) | 10 | 5’ on B Street
Rear yard (min depth feet) | 20 | 0
Rear yard (max occupancy by accessory buildings, percent) | None | None

## Slide 8
Expanded Project Notification Form – The Chandlery, 270 Dorchester Avenue
city agencies and neighborhood residents about the Project, its potential impacts and mitigation proposed to address those potential impacts. Based on a comprehensive approach to address potential impacts similar to the level of information normally presented in a Draft Project Impact Report (DPIR), the Proponent requests that the BPDA, after reviewing public and agency comments on this PNF and any further responses to comments made by the Proponent, issue a Scoping Determination Waiving Further Review pursuant to the Article 80B process.
Massachusetts Environmental Policy Act
The Project is not subject to environmental review by the Secretary of the Executive Office of Energy and Environmental Affairs, as the Project will not exceed any of the MEPA review thresholds set forth in 301 CMR 11.03.
Agency Coordination and Community Outreach
Since the Project’s conception, the Project team has kept an open line of communication with the community, elected officials and the BPDA. The Project has benefited from input from these groups regarding building design and use, site access, open space design, shared vehicle location, and parking. As a result, the Project as presented has been well-received by the community.
Presentations have been made to the following groups both casually and formally:
St. Vincent’s Neighborhood Association
West Broadway Neighborhood Association
The proponent is a long-time participant in the Dorchester Avenue Taxpayers Association (DATA), which was established in the late 1980s to engage local businesses around planning for the future of Dorchester Avenue. This has allowed him to remain engaged in the local business community and to carefully discern the types of retail uses that would be most beneficial to the community.
The proponent has also been active in the BPDA’s PLAN South Boston Dorchester Avenue process, and has followed the direction on design and density that has come out of this process. He attended the following events associated with this process:
“Talk to Us” Open House: July 30, 2015
“Walk and Bike With Us” Study Area Tours: September 14, 2015
“Plan with Us” Streets & Blocks Workshop: October 26, 2015
“Draw With Us” Design Workshop: November 17, 2015
“What We Heard” Recap Session/Dialogue: December 14, 2015
“Choose with Us” Plan Scenario Session: January, 27 2016
“Discuss with Us” Preferred Plan Draft Session: February, 23 2016
The proponent has also met with the following government officials and organizations to discuss the proposed project:

## Slide 9
Expanded Project Notification Form – The Chandlery, 270 Dorchester Avenue
City Councilor Bill Linehan: May 2014 and June 2014
City Councilor At Large Michael Flaherty: June 2014
State Representative Nick Collins: June 2014 and January 2016
Boston Redevelopment Authority: June 2014, September 2014, December 2014, January 2016, and June 16, 2016.
Development Team
Proponent | 270 Dorchester Avenue, LLC PO Box 326 Boston, MA 02127 617-529-4114 Contact: Mark Edwards
Architect | Pisani + Associates Architects 374 Congress Street Boston MA 02210-1807 617-423-1022 Contact: William A. Paquette, R.A.
Landscape Architect | Blair Hines Design Associates 318 Harvard Street, Suite 25 Brookline MA 02446 617-735-1180 Contact: Blair Hines
Legal Counsel | LaCasse Law, LLC 75 Arlington Street, Suite 500 Boston, MA 02116 617-605-2767 Contact: Marc LaCasse
Permitting, Transportation & Civil Engineering | VHB 99 High Street, 10th Floor Boston, MA 02210 617-728-7777 Contact: Elizabeth Grob Stephanie Kruel, ENV SP Patrick Dunford, P.E. Mark Jackson
Geotechnical Engineer | GEI Consultants, Inc. 400 Unicorn Park Drive Woburn, MA 01801 781-721-4031 Contact: Douglas J. Aghjayan, P.E.
MEP | M.E.A. Engineering Associates 20 Felton Street Waltham, MA 02154 781-894-6730 Contact: Al Muccni

## Slide 10
Expanded Project Notification Form – The Chandlery, 270 Dorchester Avenue
Legal Information
The Project Site is comprised of two separate parcels totaling 21,063 sf that are being combined as part of the zoning approval process. The parcel that fronts on Dorchester Avenue is approximately 4,546 sf and has an address of 284 Dorchester Avenue. It is identified by the City of Boston Assessing Department as Parcel No. 0600209000 and is classified as commercial land. A small building, which once housed Chuck & Anne’s Submarine shop, is located on this parcel and will be demolished as part of this Project.
The parcel that has frontage on Dorchester Avenue but lies primarily along B Street is approximately 16,517 sf and has an address of 270 Dorchester Avenue. It is identified by the City of Boston Assessing Department as Parcel No. 0600210000 and is classified as commercial land. The building that sits on this parcel is the headquarters of C.G. Edwards Company, Inc., a ship chandlery, which also supplies: marine hardware, marine coatings, industrial coatings and nautical charts. This building will also be demolished and C.G. Edwards will relocate to another property, preferably in the South Boston neighborhood.
1.6.1
Legal Judgments or Actions Pending Concerning the Proposed Project
There are no pending legal actions or proceedings pending against either parcel; nor any insolvency proceedings or bankruptcy involving either parcel. There are no known encroachments, or easements of record that would impair the ability to construct the proposed Project.
1.6.2
History of Tax Arrears on Property Owned in Boston by the Proponent
There are no legal judgments of record against either parcel and all property taxes have been paid to the City of Boston.
1.6.3
Site Control/Public Easements
The Project Proponent owns and controls both parcels, although currently two different entities own each parcel. It is expected that once the lots have been combined by ISD as part of the Board of Appeal process, both parcels will be conveyed into a common ownership entity. There are no known easements on the property.

## Slide 11
. .......... . . .. ...........
..
... . . ... . ..... ..
.. ....... ... ..
..... ... . ... . ..
.
. .
. ...... ...... .
.
. ..
. . .. . ..
..... ....
.. . ..... .......... .......... . .
........ .... .......... .
.. . ..
. ..
. ..
... . ... ..... ..
...
. .. . .
... ....
... . ....... .... .... .
. . .. .
. .
...
. . . .
... .. . .. ..
....
. . .
. .. . . ...
....
..
. . ..
.. . . .
.
.
....
..... ...... .. ....... . . .
. .. . .
. .
.. . .
.
. .
. . .
.
.
.
.
. .
.. ... .
. . .
.
.
. .....
.
...... ..... .
.. .
.. . ...
.. .. ....
.
........ .
....
..... ..... . .
.....
. .
... ...... ... ...... . ..... ..
.... .... ....
. . ..
.
. .....
...
.......
. .
.......
.... ...
. .. ...... ..
......
. . .. ...
. ..
.. ..
.
.. .
..
.
.
..
.....
. .
. .
.......
... .... ..
. .. . .
. . . ..
. ...
....
. .
. . . .
. .....
... .... . .
... . .. ... . .. ....
.
.
.
.
.
. ..
...
......
. . . ... ....
... ...
. .
..
.
.
. .... .. ... ..
.
. ...
. . . ...
.. .
.
. ...
.
.
.
. ..
. .
. ..
.
.
.. ..
...
...
. .
.
.
. .
.
.
.
..
. .
. . .
.
..
.
.
.
. .
.
. . .
.
.
.
.
.
.
.
.. .
.
. .
.
.
.
.
. .
.
.
.
.
.
.
.
.
.
.
.
.
.
. ..
.
.
.
. .
.
.
.
.
.
.
.
.
. .
.
.
.
.
.
.
..
..... .
.. .... .. ... . . .
...... .... .
.. .. .....
.
.....
.
. . .
.
.
.
.
...
.
.
.
..
.
........
. .... ..
. .
..
.
.
.
.......
.
.
...
. .
. .
.
.
....
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
...
.
.
..
.
.
.
.
.
. .
.
.
. .
.
. ..
.
.
. . . .
.
..
.
.
..
.
.
.
.
.
. .
.
. . .
.
.
.
.
. .
.
. .
. . .
.
. . .
.
.
. . .
.
. .
. .
.
.
.
. .
.
. .
. .
.
.
.
.
. .
.
.
..
. .
.
.
.
. . .
.
.
.
.
.
.
. .
. . .
.
. .
.
. .
.
. .
.
. .
.
.
. .
.
. .
. .
.
.
.
. .
.
.
.
.
.
.
.
.
. .
.
.
.
.
.
. .
.
. .
.
.
.
.
.
.
.
.
.
. .
.
.
.
...... ..
.
..
.
.
.
.
.
. ..
.
.
. . .
.
. ...
.
.
.
. .
.
.
..
.
.
.
.
...
›
›
›
›
›
›
›
›
›
›
› ›
›
›
›
›››
›› ››
›››
››
› ›
›
›
›
›› ›
› ›
›
› ››
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
› ›
›
››
›
›
›
›
›
›
›
›
››
›
›
›
››
›
› ›
››
›
›
››
›
›
›
›
›
›
›
› ›
››
››
›
› › ›
›
›
››
›› ››
›
›
›
›
›
›
››
›››
››››
›
›
› ›
›
›
›
›
›
›
››
›
›
›
›
›
›
›
›
›
›
›
›
› ›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
››
›
›
›
›
›
›
›
›
›
› ›
›
›
›
›
›
›
›
››
›
› ›
›
›
›
›
›
›
›
›
›
››
›
› ›
›
›
›
›
›
›
›
›
› ›
›› ›
›
›
›
››
›
›
›
››
›
›
›
›
› ›
›
›
›
›
›
›
›
››
›
›
›
›
›
›
›
›
›
› ›
›
›
›
›
›
›
› ›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
› ›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
›
§¨¦
90
¤£
1
¬
«
3
¬«
9
¬«
3
¬«
28
H
IN
G
H
A
M
-
B
O
S
T
O
N
B
OS
T
ON
-P
R
OV
IN
C
ET
O
WN
F
RY
B
O
S
T
O
N
-
L
O
G
A
N
A
I
R
P
O
R
T
BO
STO
N-Q
UINC
Y
H
U
L
L
-
L
O
G
A
N
AI
R
P
O
R
T
Y YA
RD
E BROADWAY
E 4TH ST
E CONCORD ST
O ST
MT VERNON ST
MARINE RD
E 6TH ST
W
A
RREN AVE
W SIDE
DR
SYDNEY ST
E 3RD ST
B
R
O
O
K
AVE
WAS
H
INGTON
HARRISON AVE
S
T
APPLETON ST
E NEWTON ST
W 3RD ST
ROADWA
O
C
ALLA
G
HAN
W
AY
D ST
AL
LSTATE RD
E 1ST ST
BOLTON ST
SILVE
GOLD ST
SHIRLEY
ST
U
W 7TH ST
I H
E
E
V
U A T
T S
S RD TR
A A S E
I
B
EA
C
H ST
F
R
A
N
K
LIN S
T
B
UTTONWOOD ST
R ST
A
ST
G ST
WIDETT
C
I
R
BLACK FALCON AVE
IELD ST
GEORGE S
T
B ST
E
C
OTTA
G
E
S
T
M
A
GAZINE ST
PAPPAS
W
A
Y
W 5TH ST
MOR
R
I
L
L AVE
E 2
ND ST
P ST
HROP ST
N
P
OINT
DR
C
OL
U
MBIA
RD
E 7TH ST
WALTHAM ST
W 2ND ST
DRYDOCK AVE
C
O
N
G
R
E
S
S
S
T
SUMMER ST
D
A
Y
B
L
V
D
OL
COLUMBIA RD D COLONY AVE
A
L
B
A
N
Y
S
T
SEAPORT BLVD
W B
Y
D ST
DORCHESTER AVE
SO
UTHAM
PTON
ST
D
U
D
L
E
Y
S
T
B
O
S
T
O
N
S
T
E
B
ER
K
EL
E
Y
ST
L
ST
MASSACHUSETTS AVE
BNHP
BNHP
BNHP
Boston
Main
Channel
Reserved Cha
Old
Harbor
e
r
Figure 1.1 Locus Map
270 Dorchester Avenue South Boston, Massachusetts
Source: 2015 USGS Boston South
0
200
400 Feet
\\vhb\proj\Boston\12790.00\graphics\FIGURES\12790-report figures.indd p1 10/24/16
Site

## Slide 12
SITE PLAN 270 Dorchester Ave., Boston - 4.24.2014 Pisani + Associates Architects
PISANI + ASSOCIATES A R C H I T E C T S
270 Dorchester Avenue South Boston, Massachusetts
THE CHANDLERY
©

## Slide 13
270 Dorchester Ave., Boston - 6.09.2014 Pisani + Associates Architects
PISANI + ASSOCIATES A R C H I T E C T S
270 Dorchester Avenue South Boston, Massachusetts
THE CHANDLERY
©

## Slide 14
270 Dorchester Ave., Boston - 6.09.2014 Pisani + Associates Architects
PISANI + ASSOCIATES A R C H I T E C T S
270 Dorchester Avenue South Boston, Massachusetts
THE CHANDLERY
©

## Slide 15
View to Northeast from Dorchester Avenue

## Slide 16
View to South from Dorchester Avenue

## Slide 17
View to Northeast from B Street

## Slide 18
View to Northwest from W. 6th Street

## Slide 19
1/4 MILE - 5 MIN WALK
9 11 47
MBTA Buses
to LOGAN AIRPORT
by taxi - 8 Min.
90
93
West Broadway
270 Dorchester Ave., Boston - 12.16.2015
Pisani + Associates Architects
URBAN DESIGN / TRANSPORTATION
PISANI + ASSOCIATES A R C H I T E C T S
270 Dorchester Avenue South Boston, Massachusetts
THE CHANDLERY
©

## Slide 25
24.5'
RAISED PLAZA
28.5' see Landscape dwgs
17.5'
15.5'
DORCHESTER AVENUE PLANTERS
B STREET
10'-6"
EXISTING GRADE
EXISTING BLDG.
TO BE REMOVED
FLOOR 2
FLOOR 3
FLOOR 4
FLOOR 5
FLOOR 6
15.0'
10'-6"
10'-6"
10'-6"
10'-6"
-0'-8"'
20.0'
14'-3"
49'-0"
1A CONSTRUCTION
BROKEN
1" INSUL GL w/
90% ARGON INSULATED METAL PANEL EXTERIOR
COMPOSITE SECTION
RAISED SIDEWALK
see Landscape dwgs
GLAZED ALUMIN
FRAMING THERMALLY
BROKEN
1" INSUL GL w/
90% ARGON
GLAZED ALUMIN
FRAMING THERMALLY BROKEN
1" INSUL GL w/
90% ARGON
25.0'
AUTOMATED PARKING SYSTEM BASED ON PARKMATIC CAR
PARKING SYSTEM
37 VEHICLES THIS LEVEL
FLOOR 8
ROOF DECK
see Landscape dwgs.
10'-6"
INSULATED METAL PANEL EXTERIOR
GLAZED ALUMIN
FRAMING THERMALLY
FLOOR 7
AUTOMATED PARKING SYSTEM
BASED ON PARKMATIC CAR PARKING SYSTEM
100 VEHICLES THIS LEVEL
Est. ELEV. of RR Tracks
25'-7"
23.0'
22.0'
21.0'
20.0'
19.0'
18.0'
17.0'
16.0'
15.0'
14.0'
13.0'
12.0'
11.0'
10.0'
9 .0'
8 .0'
7 .0'
6 .0'
5 .0'
4 .0'
3 .0'
2 .0'
1 .0'
0 .0'
25.0'
24.0'
-1
-2 .0'
88'-5"
25.5'
3'-0"
12'-0"
This document is recorded on or can be transmitted on electronic media It is therefore subject to undetectable alteration or erasure, intentional or unintentional, due to causes including, without limitation transmission, conversion, translation, media degradation, software error, human error or alteration. Accordingly, Pisani + Associates
Architects shall not be held liable for claims, losses, damages,
or costs arising out of any such alterations or unauthorized re-use or modification of this document or any part thereof.
P+A Project No.14-275 270 DOT AVE
OWNER
270 DORCHESTER AVE LLC PO BOX 506
MILTON MA 02186
tel: 617-529-4114
em: info@270dorchester.com
SURVEYOR
BOSTON SURVEY, INC UNIT C-4 SHIPWAYS PLACE CHARLESTOWN MA 02129
tel: 617-242-1313
CIVIL/ TRAFFIC ENGINEER
VANASSE HANGEN BRUSTLIN, INC 99 HIGH STREET
BOSTON, MA 02110
tel: 617-728-7777
STRUCTURAL ENGINEER
McNAMARA/SALVIA, INC. 101 FEDERAL STREET
BOSTON, MA 02110
tel: 617-737-0040
MECHANICAL ENGINEER
M.E.A. ENGINEERING ASSOCIATES, INC. 20 FELTON STREET
WALTHAM MA 02453
tel: 781-894-6730
OWNER'S CONSULTANTS
10.10.16
THE CHANDLERY
©
03 | 09.20.16 | revised Parking
02 | 03.13.16 | revised Parking
01 | 00.00.00 | owner scoping session
COMM. + RESIDENCES @ 270 DORCHESTER ST. SOUTH BOSTON MA 14-275 |  | 
AMP AMP |  | 
COMPOSITE SECTION Three Level Pkg. 1/ 8" = 1'-0" |  | 
A3.1 |  | 

## Slide 26
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
1/16" = 1'0" Scale 1:192
W 6th STREET
B-STREET ELEVATION
DORCHESTER AVENUE ELEVATION
10'-6" 10'-6" 10'-6" 10'-6" 10'-6" 10'-6" 12'-10"
90'-0"
10'-6" 10'-6" 10'-6" 10'-6" 10'-6" 10'-6" 12'-10"
90'-0"
PISANI + ASSOCIATES A R C H I T E C T S
270 Dorchester Avenue South Boston, Massachusetts
THE CHANDLERY
©

## Slide 27
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
1/16" = 1'0" Scale 1:192
N380
WEST SIXTH STREET ELEVATION
B-STREET
DORCHESTER AVENUE ELEVATION
PISANI + ASSOCIATES A R C H I T E C T S
270 Dorchester Avenue South Boston, Massachusetts
THE CHANDLERY
©

## Slide 28
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
1/8" = 1'0" Scale 1:196
PARTIAL B-STREET ELEVATION
PISANI + ASSOCIATES A R C H I T E C T S
270 Dorchester Avenue South Boston, Massachusetts
THE CHANDLERY
©
PARTIAL DORCHESTER AVENUE ELEVATION | 

## Slide 29
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
1/16" = 1'0" Scale 1:192
HAUL ROAD ELEVATION
HAUL ROAD ELEVATION
PISANI + ASSOCIATES A R C H I T E C T S
270 Dorchester Avenue South Boston, Massachusetts
THE CHANDLERY
©

## Slide 30
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
Raised Deck Perspective View
PISANI + ASSOCIATES A R C H I T E C T S
270 Dorchester Avenue South Boston, Massachusetts
THE CHANDLERY
©

## Slide 31
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
Raised Deck Perspective View
PISANI + ASSOCIATES A R C H I T E C T S
270 Dorchester Avenue South Boston, Massachusetts
THE CHANDLERY
©

## Slide 32
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
Raised Deck Perspective View
PISANI + ASSOCIATES A R C H I T E C T S
270 Dorchester Avenue South Boston, Massachusetts
THE CHANDLERY
©

## Slide 33
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
Raised Deck Perspective View
PISANI + ASSOCIATES A R C H I T E C T S
270 Dorchester Avenue South Boston, Massachusetts
THE CHANDLERY
©

## Slide 34
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
Perspective View
Aluminum Brise Soleil
Aluninum Brise Soleil
Glass Fiber Reinforced concrete Curved Cornice
Aluninum Curtain Wall
Aluminum Frame Windows
Steel & Glass Guard Rails
Aluminum Brise Soleil
Alply Metal Fins
Brick Spalding Ironspot
Alply Metal Fins
Aluminum Brise Soleil
Glass Fiber Reinforced Concrete Curved Cornice
Aluminum Frame Windows Alply Metal Panels
Alply Metal Panels
Chandlery
Aluminum Grills
Brick Spalding Ironspot
PISANI + ASSOCIATES A R C H I T E C T S
270 Dorchester Avenue South Boston, Massachusetts
THE CHANDLERY
©

## Slide 35
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
OVERALL PERSPECTIVE VIEWS
PISANI + ASSOCIATES A R C H I T E C T S
270 Dorchester Avenue South Boston, Massachusetts
THE CHANDLERY
©

## Slide 36
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
OVERALL PERSPECTIVE VIEWS
PISANI + ASSOCIATES A R C H I T E C T S
270 Dorchester Avenue South Boston, Massachusetts
THE CHANDLERY
©

## Slide 37
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
PERSPECTIVE VIEW
PISANI + ASSOCIATES A R C H I T E C T S
270 Dorchester Avenue South Boston, Massachusetts
THE CHANDLERY
©

## Slide 38
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
March 21 9:00 AM
THE CHANDLERY
©

## Slide 39
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
THE CHANDLERY
©
March 21 12:00 AM

## Slide 40
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
THE CHANDLERY
©
March 21 4:00 PM

## Slide 41
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
THE CHANDLERY
©
June 21 9:00 AM

## Slide 42
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
THE CHANDLERY
©
June 21 12:00 AM

## Slide 43
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
June 21 4:00 PM
THE CHANDLERY
©

## Slide 44
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
September 21 9:00 AM
THE CHANDLERY
©

## Slide 45
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
September 21 12:00 AM
THE CHANDLERY
©

## Slide 46
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
September 21 4:00 PM
THE CHANDLERY
©

## Slide 47
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
December 21 9:00 AM
THE CHANDLERY
©

## Slide 48
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
December 21 12:00 AM
THE CHANDLERY
©

## Slide 49
09.30.2016
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
December 21 4:00 PM
THE CHANDLERY
©

## Slide 50
SHADOW STUDY (NO BUILD)
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
March 21 9:00 AM
THE CHANDLERY
©

## Slide 51
SHADOW STUDY (NO BUILD)
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
March 21 12:00 PM
THE CHANDLERY
©

## Slide 52
SHADOW STUDY (NO BUILD)
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
March 21 4:00 PM
THE CHANDLERY
©

## Slide 53
SHADOW STUDY (NO BUILD)
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
June 21 9:00 AM
THE CHANDLERY
©

## Slide 54
SHADOW STUDY (NO BUILD)
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
June 21 12:00 PM
THE CHANDLERY
©

## Slide 55
SHADOW STUDY (NO BUILD)
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
June 21 4:00 PM
THE CHANDLERY
©

## Slide 56
SHADOW STUDY (NO BUILD)
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
September 21 9:00 AM
THE CHANDLERY
©

## Slide 57
SHADOW STUDY (NO BUILD)
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
September 21 12:00 PM
THE CHANDLERY
©

## Slide 58
SHADOW STUDY (NO BUILD)
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
September 21 4:00 PM
THE CHANDLERY
©

## Slide 59
SHADOW STUDY (NO BUILD)
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
December 21 9:00 AM
THE CHANDLERY
©

## Slide 60
SHADOW STUDY (NO BUILD)
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
December 21 12:00 PM
THE CHANDLERY
©

## Slide 61
SHADOW STUDY (NO BUILD)
270 Dorchester Ave., BOSTON
PISANI + ASSOCIATES ARCHITECTS
SHADOW STUDY
December 21 4:00 PM
THE CHANDLERY
©

## Slide 62
LIST of DRAWINGS
SITE PLAN - EXISTING (BOSTON SURVEY, IN SITE PLAN - PROPOSED (BOSTON SURVEY, IN
ARCHITECTURAL
AG2.2 LOWER LEVEL - PARKING
AG1.1 COMMERCIAL LEVEL - PARKING
A1.1 GROUND LEVEL / COMMERCIAL LEVEL A1.2 SECOND - FOURTH FLOOR PLAN
A1.3 FIFTH - EIGTH FLOOR PLAN A1.4R ROOF PLAN
A3.1 SECTION
PERSPECTIVE - OVERALL VIEW
PERSPECTIVE VIEWS ELEVATIONS 1/16" = 1'-0" ELEVATIONS 1/16" = 1'-0" ELEVATIONS 1/16" = 1'-0" ELEVATIONS 1/8" = 1'-0" PERSPECTIVE VIEW @ B STREET
PERSPECTIVE VIEW @ DOT AVE & B STREET
SURVEY
STRUCTURAL
COVER SHEET
AERIAL VIEW - SITE CONTEXT AERIAL VIEW - SITE PLAN
VANASSE HANGEN BRUSTLIN, INC 99 HIGH STREET
BOSTON, MA 02110
tel: 617-728-7777
STRUCTURAL ENGINEER
FLOOR AREA SUMMARY (ZONING)
OFF-STREET PARKING
Article 23, 23-1 Residential Uses, 23-4 Retail and Offices Uses: BRA ARTICLE 80 DETERMINES PARKING
N/A
SOUTH BOSTON NEIGHBORHOOD DISTRICT, BOSTON BASE ZONING CODE
NEIGHBORHOOD DISTRICT:
BOSTON ZONING CODE
ZONING, USE, LOT AREA
EXISTING USE:
OVERLAY DISTRICT:
LOT AREA: 21,063± SF
DIMENSIONAL REGULATIONS
Article 13, Table B:
ZONING DISTRICT:
M-1 Manufacturing, Use adjacent H-1
MERCANTILE / WAREHOUSE
* VARIANCES WERE GRANTED BY THE ZONING BOARD OF APPEAL AT PUBLIC HEARING ON ------------------- DATE OF ENTRY OF DECISION IN THE INSPECTIONAL SERVICES DEPARTMENT WAS --------------------------
PROJECT IS SUBJECT TO ARTICLE 80 LARGE PROJECT REVIEW
DWELLING UNIT COUNT
GENERAL NOTES
ALL WORK SHALL BE DONE IN STRICT ACCORDANCE WITH THE STATE BUILDING CODE OF MASSACHUSETTS AND ALL LOCAL ORDINANCES.
CONTRACTOR SHALL SECURE ALL REQUIRED PERMITS.
BUILDING CODE COMPLIANCE SUMMARY
BUILDING CODE: 780 CMR 9TH EDITION:
2015 INTERNATIONAL BUILDING CODE (IBC)
780 CMR MASSACHUSETTS AMENDMENTS
PROPOSED USE: 303.1 ASSEMBLY GROUP A-2 (GYMNASIUM, POSSIBLE RESTAURANT)
310.1 RESIDENTIAL GROUP R-2 (APARTMENT HOUSE)
311.3 LOW HAZARD STORAGE GROUP S-2 (PARKING GARAGE)
PROPOSED HEIGHT: STORIES: 8 STORIES
HEIGHT ABOVE GRADE PLANE: ±90' -0"+
BUILDING TO BE EQUIPPED THROUGHOUT WITH AN APPROVED AUTOMATIC SPRINKLER SYSTEM IN ACCORDANCE WITH 903.3.1.1 (NFPA 13)
CHAPTER 7 - FIRE AND SMOKE PROTECTION
CHAPTER 6 - TYPES OF CONSTRUCTION
ARCHITECT'S PROJECT NO. 14-275
Multi-Family Dwelling
/ Commercial
270 DORCHESTER AVENUE
South Boston, MA 02127
u
A
a
t
374 CONGRESS STREET
BOSTON, MA 02210-1807
TEL: (617) 423-1022
FAX: (617) 426-0939
email: apisani@pisani.com
ZONING SUBMISSION 01 OCT. 2016
CONTEXT PLAN - SOUTH BOSTON
NO SCALE
NORTH
W 6th STREET
DORCHESTER AVE
B STREET
PROJECT LOCATION
OWNER
270 DORCHESTER AVE LLC PO BOX 506
MILTON MA 02186
tel: 617-529-4114
em: info@270dorchester.com
SURVEYOR
BOSTON SURVEY, INC UNIT C-4 SHIPWAYS PLACE CHARLESTOWN MA 02129
tel: 617-242-1313
CIVIL/ TRAFFIC ENGINEER
McNAMARA/SALVIA, INC. 101 FEDERAL STREET
BOSTON, MA 02110
tel: 617-737-0040
OWNER'S CONSULTANTS
MECHANICAL ENGINEER
M.E.A. ENGINEERING ASSOCIATES, INC. 20 FELTON STREET
WAL:THAM MA 02453
tel: 781-894-6730
THE CHANDLERY
©
ITEM | REQUIRED | EXISTING/PROPOSED | STATUS
MIN. LOT SIZE | 5,000 SF | 21,063 ± SF | CONFORMANCE
LOT AREA min PER DWELLING UNIT | 1,000 SF | 191 SF | *ZONING RELIEF
MIN. LOT WIDTH | 50' | 151.62' DORCHESTER Ave. | CONFORMANCE
MIN. LOT FRONTAGE | NONE | 151.62' DORCHESTER Ave. | CONFORMANCE
MAX. ALLOWABLE FAR | 1.0 | 5.67 | *ZONING RELIEF
MAX. ALLOWABLE BUILDING HEIGHT | NONE (15) | 90'-0" + on Dorchester Ave. 50' on B Street | *ZONING RELIEF
MIN. USABLE OPEN SPACE / DWELLING UNIT | 400 SF x 150 = 60,000 SF | 18,203 SF / 150 units = 121.4 SF including Open space Roof decks | *ZONING RELIEF
MIN. FRONT YARD | 20' | 10' ON Dorchester Ave 5' / Modal on B Street | *ZONING RELIEF
MIN. SIDE YARD | 10' | 5' / Modal on B Street | *ZONING RELIEF
MIN. REAR YARD | 20' | 0' | *ZONING RELIEF
FLOOR | FLOOR AREA ( ±SF) |  | COMMENT
 | TOTAL | FAR AREA | 
PARKING | 21,063 | 1,235 | 
BASEMENT/ PARKING | 21,063 | 4,988 | 
1st | 14,595 | 10,720 | 
2nd | 16,960 | 15,205 | 
3rd | 16,960 | 15,205 | 
4th | 16,960 | 15,205 | 
5th | 15,530 | 13,835 | 
6th | 15,530 | 13,835 | 
7th | 15,530 | 13,835 | 
8th | 15,530 | 13,835 | 
ROOF | 2,650 | 1,350 | 
TOTAL | 172,371 | 119,348 | FAR: 5.67
FLOOR | NO. BEDROOMS |  |  | TOTAL
 | STUDIO | 1-BR | 2-BR | 
PARKING |  |  |  | 
BASEMENT/ PARKING |  |  |  | 
1st | 3 | 7 | 1 | 11
2nd | 3 | 14 | 4 | 21
3rd | 3 | 14 | 4 | 21
4th | 3 | 14 | 4 | 21
5th | 3 | 12 | 4 | 19
6th | 3 | 12 | 4 | 19
7th | 3 | 12 | 4 | 19
8th | 3 | 12 | 4 | 19
TOTAL | 24 | 97 | 29 | 150
USE | REQUIRED | TOTAL PROPOSED: 120 SPACES | 
MULTI-FAMILY RESIDENTIAL | .5 SP/UNIT |  | 80 MARKET RATE UNITS: 80 x .5 = 40 SPACES 70 WORK FORCE UNITS: 70 x .5 = 35 SPACES
WORK FORCE UNITS | .5 SP/UNIT |  | RESIDENTIAL SPACES REQ'D: 75 SPACES
COMMERCIAL | 2.0 SP/1,000 SF | COMMERCIAL SPACE = 2,650 SF = 11 SPACES | 
 |  | TOTAL REQUIRED = 86 TOTAL PROVIDED = 120 SPACES | 
CODE REF. | DESCRIPTION |  |  |  |  |  |  |  | 
705.5 | REQUIRED FIRE RESISTANCE RATING OF EXTERIOR WALLS WITH A FIRE SEPARATION DISTANCE GREATER THAN 10' SHALL BE RATED FOR EXPOSURE FROM THE INSIDE. REQUIRED FIRE RESISTANCE RATING OF EXTERIOR WALLS WITH A FIRE SEPARATION DISTANCE OF LESS THAN OR EQUAL TO 10' SHALL BE RATED FOR EXPOSURE FROM BOTH SIDES. |  |  |  |  |  |  |  | 
TABLE 705.8 MAXIMUM ALLOWABLE AREA OF EXTERIOR WALL OPENINGS (a) | DEGREE OF OPG PROTECTION | FIRE SEPARATION DISTANCE (FEET) |  |  |  |  |  |  | 
 |  | 0' - <3' | 3' - <5' | 5' - <10' | 10' - <15' | 15' - <20' | 20' - <25' | 25' - <30' | 30'+
 | UP, NS | NOT PERMITTED | NOT PERMITTED | 10% | 15% | 25% | 45% | 70% | NO LIMIT
 | UP, S | NOT PERMITTED | NOT PERMITTED | 25% | 45% | 75% | NO LIMIT | NO LIMIT | NOT REQUIRED
 | P | NOT PERMITTED | 15% | 25% | 45% | 75% | NO LIMIT | NO LIMIT | NOT REQUIRED
 | UP, NS = UNPROTECTED, NON-SPRINKLERED UP, S = UNPROTECTED, SPRINKLERED P = PROTECTED NOTES: (a) PERCENTAGE OF EXTERIOR WALL PER STORY |  |  |  |  |  |  |  | 
705.11 | PARAPET NOT REQUIRED PER EXCEPTION 6. (FIRE SEPARATION DISTANCE) |  |  |  |  |  |  |  | 
709 709.1 709.3 | FIRE PARTITIONS THE FOLLOWING WALL ASSEMBLIES SHALL COMPLY WITH THIS SECTION: WALLS SEPARATING DWELLING UNITS IN THE SAME BUILDING PER 420.2: 1-HR RATED FIRE PARTITION. N/A N/A CORRIDOR WALLS AS REQUIRED BY 1018.1: 1/2-HR RATED (SPRINKLERED BUILDING) ELEVATOR LOBBY NOT REQUIRED PER 708.14.1 EXCEPTION 4. FIRE PARTITIONS SHALL HAVE A FIRE RESISTANCE RATING OF NOT LESS THAN 1 HR. EXCEPTION 1: CORRIDOR WALLS PERMITTED TO HAVE 1/2-HOUR RESISTANCE RATING AS PERMITTED BY TABLE 1018.1 (SPRINKLERED BUILDING) |  |  |  |  |  |  |  | 
712 712.3 | HORIZONTAL ASSEMBLIES FIRE RESITANCE RATING: FLOOR AND ROOF ASSEMBLIES: AS REQUIRED BY BUILDING TYPE OF CONSTRUCTION. MIXED USE: NOT LESS THAN REQUIRED BY SECTION 508.4. HORIZONTAL ASSEMBLIES SEPARATING DWELLING UNITS: MINIMUM 1-HR FIRE RATED CONSTRUCTION. |  |  |  |  |  |  |  | 
CODE REF. | DESCRIPTION |  |  | 
TABLE 601 | FIRE RESISTANCE RATING REQUIREMENTS FOR BUILDING ELEMENTS (HOURS): |  |  | 
 |  | TYPE 1A |  | 
 | PRIMARY STRUCTURAL FRAME (g): | 3-HR |  | 
 | BEARING WALLS - EXTERIOR (f)(g): | 3-HR |  | 
 | BEARING WALLS - INTERIOR: | 3-HR |  | 
 | NON-BEARING WALLS AND PARTITIONS - EXTERIOR: | PER TABLE 602 SEE BELOW |  | 
 | NON-BEARING WALLS AND PARTITIONS - INTERIOR (e): | 0-HR/ 1-HR* |  | * 1-HR SEPARATING DWELLING UNITS
 | FLOOR CONSTRUCTION AND SECONDARY MEMBERS: | 2-HR | 1-HR | 
 | ROOF CONSTRUCTION AND SECONDARY MEMBERS: | 11 -HR 2 | 1-HR | 
 | NOTES: NOT LESS THAN FIRE RESISTANCE RATING REQUIRED BY OTHER SECTIONS OF THIS CODE. NOT LESS THAN FIRE RESISTANCE RATING BASED ON FIRE SEPARATION DISTANCE (TABLE 602) NOT LESS THAN FIRE RESISTANCE RATING PER 704.10. |  |  | 
TABLE 602 | FIRE RESISTANCE RATING REQUIREMENTS FOR EXTERIOR WALLS BASED ON FIRE SEPARATION DISTANCE (a)(e): ABOVE HOR. SEPARATION BELOW HOR. SEPARATION USE GROUP R USE GROUPS A-2 AND S-2 CONSTRUCTION TYPE VA: CONSTRUCTION TYPE 1A: X < 5': 1-HR 1-HR 5' <= X < 10': 1-HR 1-HR 10' <= X < 30': 1-HR 1-HR X >= 30': 0-HR 0-HR NOTES: (a) LOAD BEARING EXTERIOR WALLS SHALL ALSO COMPLY WITH TABLE 601. (e) FIRE RESISTANCE RATING OF WALL DETERMINED BY FIRE SEPARATION DISTANCE OF THE EXTERIOR WALL AND THE STORY IN WHICH THE WALL IS LOCATED. |  |  | 
DATE | DESCRIPTION

## Slide 63
17 Risers @ 7" = 9'-11"
UP
DN
UP
20'-11"
CLOSE EXISTIN2G CURB CUT
EXISTING CURB CUT TO BE REDUCED AND MOVED
7
CLOSE EXISTING CURB CUT
CLOSE EXISTING CURB CUT
R23'-0"
10'-0"
15.5'
PROPERTY LINE
E
D
C
B A
1
3
4
E
D
C
B A
CIRCULATION = 615 SF
PLAN
32' NORTH
N
0' 4' 8' GRAPHIC SCALE IN FEET
16'
SITE INFORMATION TAKEN FROM
"SITE PLAN OF LAND" BY BOSTON SURVEY , INC DATED FEBRUARY 14, 2013
LOWER LEVEL CAPACITY= 50 + 50 VEHICLES = 120 VEHICLES
THIS LEVEL CAPACITY 20 VEHICLES
5
6
8
9
10
11
12
8'-6" CAR WASH
8'-0"
9'-6"
8'-6"
8'-6"
8'-6"
34'-7"
19'-1"
13'.0"
TRASH ROOM
SPRINKLER
ROOM / DOMESTIC
UP TO
15'-6"
64 GAL 64 GAL
25"x32" 25"x32"
25'-6"
25'-6"
25'-6"
25'-6"
13'-0"
13.0'
SIDEWALK VENT
ABOVE
SIDEWALK VENT
ABOVE
15.5'
15'-6"
17 Risers @ 7" = 9'-11"
UP
DN
UP
1100'-'-00""
TWO-WAY RAMP 13.8% RAMP
BIKE STORAGE 40 BIKES
F
G
H
1
2
3
4
12
19.5' F
G
H
13.0' PRIVATE RESIDENCE ELEVATOR
5
6
8
9
10
11
7
BLEND SLOPE
8%
20.0'
20.75'
15.5'
59'-2"
ELEVATOR
ELEVATOR
BBLLEENNDDSSLLOOPPEE
88%%
GENERATOR
STAIR NO. 2
ELECTRIC
MECHANICAL SPRINKLER
COMM.
ELEV
1:12 RAMP
PRESSURIZED ELEVATOR LOBBY
18 Risers @ 7" = 10'-6"
UP
DN
UP
STAIR NO. 1
DN
COMM. + RESIDENCES @
270 DORCHESTER ST. SOUTH BOSTON MA
14-275
AMP AMP
COMM/GARAGE "C" 3/32" = 1'-0"
AG1.1C
OWNER
270 DORCHESTER AVE LLC
South BOSTON MA 02127 tel: 617-529-4114
em: info@270dorchester.com
P+A Project No.14-275 270 DOT AVE
This document is recorded on or can be transmitted on electronic media It is therefore subject to undetectable alteration or erasure, intentional or unintentional, due to causes including, without limitation transmission, conversion, translation, media degradation, software error, human error or alteration. Accordingly, Pisani + Associates
or costs arising out of any such alterations or unauthorized re-use or modification of this document or any part thereof.
BOSTON SURVEY, INC
tel: 617-242-1313 CIVIL/ TRAFFIC ENGINEER
VANASSE HANGEN BRUSTLIN, INC 99 HIGH STREET
tel: 617-728-7777
McNAMARA/SALVIA, INC.
BOSTON, MA 02110
tel: 617-737-0040
OWNER'S CONSULTANTS
M.E.A. ENGINEERING ASSOCIATES, INC. 20 FELTON STREET
WALTHAM MA 02453
tel: 781-894-6730
01 01.04.16 Mech revisions
10.10.16
03 09.20.16 Automated PKG
THE CHANDLERY
©
 |  | 1 | 2 | 3 | 4 |  | 5 |  | 6 7 8 9 10 11 12 | 
 | H |  |  |  |  |  |  |  |  | H
 |  |  |  |  |  |  |  |  | ELECTRIC | 
 |  |  |  |  |  |  |  |  |  | 20.75'
 | G |  |  |  |  |  |  |  | MECHANICAL SPRINKLER | G
 |  |  |  |  |  |  |  |  | 15.5' | 
 |  |  |  |  |  |  |  |  | LOBBY NO. 1 | 
 | F |  |  |  |  |  |  |  | BIKE | 19.5' F
 |  |  |  |  |  |  |  |  | 40 BIKES | 
 |  |  |  |  |  |  |  |  | STAIR | 
 |  |  |  |  |  |  |  |  | 13.0' PRIVATE RESIDENCE NO. 2 | 
 | E |  |  |  |  |  |  |  |  | E
 |  |  |  |  |  |  |  |  | 1:12 RAMP 15.5' | 
 |  |  |  |  |  |  |  | 13.0' | 15.5' | 
 | D |  |  |  |  |  |  |  | 15'-6" | D
 |  |  |  |  |  |  |  |  | 9'-6" 8'-0" 8'-6" 8'-6" 8'-6" 25'-6" 25'-6" 25'-6" 25'-6" | 
 | C |  |  |  |  |  |  |  | UP | C
 |  |  |  |  |  | 13'.0" |  |  | CAR WASH | 
 | B |  |  |  |  |  |  |  |  | B
 | A |  |  |  |  |  |  |  |  | A
 |  |  |  |  |  |  |  |  | EXISTING CURB CUT TO BE REDUCED AND MOVED | 
 |  | 1 | CLOSE EXISTIN2G CURB CUT | 3 | 4 |  | 5 |  | 6 7 8 9 10 11 12 | 
 |  |  |  |  |  |  |  |  |  | PLAN
 |  |  |  |  |  |  |  |  | THIS LEVEL CAPACITY 20 VEHICLES 0' 4' 8' 16' GRAPHIC SCALE IN FEET | 32' NORTH
 |  |  |  |  |  |  |  |  |  | SITE INFORMATION TAKEN FROM
 |  |  |  |  |  |  |  |  | LOWER LEVEL CAPACITY= 50 + 50 VEHICLES = 120 VEHICLES | DATED FEBRUARY 14, 2013

## Slide 64
KITCHEN
18 Risers @ 7" = 10'-6"
UP
DN
UP
PROPERTY LINE
PROPERTY LINE
PROPERTY LINE
LINE OF BUILDING OVERHANG ABOVE
5'-0"
1
ONE BR
745 SF
COMMERCIAL SPACE 2,900 SF
25.5'
RAISED TERRACE OPEN SPACE 28.5' 2,816 SF
24.5'
19.5'
20.0'
10'-0"
10'-0"
49'-5"
TWO-WAY RAMP 12.7% RAMP
BLEND SLOPE 8%
BLEND SLOPE 8%
16.3'
E
D
C
B
A
F
G
H
REMOVE EXI2STING CURB CUT
3
4
5 REMOVE EXISTING CURB CUT 6
12
1
2
3
4
5
6
8
9
7
10
11
12
1:12 RAMP
PLAN
32' NORTH
N
0' 4' 8' GRAPHIC SCALE IN FEET
16'
SITE INFORMATION TAKEN FROM
"SITE PLAN OF LAND" BY BOSTON SURVEY , INC DATED FEBRUARY 14, 2013
STAIR
NO. 2
REMOVE EXISTING CURB CUT
PROVIDE 11 NEW PARKING SPACES OF WHICH 5 ARE NEW DUE TO THE
ELIMINATION OF EXISTING CURB CUTS
15.6'
COMMERCIAL E
D
REMOVE EXISTING CURB CUT
8
9
10
11
7
10'-0"
7'-0"
UP
DN
UP
10'-1"
PATIO
C
B A
F
G
H
16.0'
PUBLIC LOBBY 25.5'
28.5'
18.2'
19.9'
20.75'
17.5'
28.5'
68'-10"
DN
EXISTING CURB CUT TO BE ENLARGED
SPACE
COMMERCIAL
SPACE
STUDIO
480 SF
1 BR
750 SF
LOADING DOCK
HYDRAULIC DOCK LIFT
18 Risers @ 7" = 10'-6"
STAIR NO. 3
STUDIO
465 SF
1 BR
700 SF
STUDIO 475 SF
STUDIO 560 SF
RESIDENCE
LOBBY / LOUNGE
25.5'
1 BR
705 SF
2 BR
990 SF
STORAGE
STORAGE
ELEC/MECH
GROSS SF THIS AREA = 9,285 SF
GROSS SF THIS AREA = 5,029 SF
PATIO PATIO
1 BR
695 SF
PATIO
PATIO
PATIO
SECURITY/RENTAL OFFICE
TRASH
1 BR
670 SF
FIRE COMMAND STATION
210 SF
1:12 RAMP
COMM.
ELEV
11.5'
PRESSURIZED ELEVATOR
LOBBY
18 Risers @ 7" = 10'-6"
UP
STAIR
NO. 1
3'-1"
DN
EGRESS CORRIDOR
COMM. + RESIDENCES @
270 DORCHESTER ST. SOUTH BOSTON MA
14-275
AMP AMP
GROUND FLOOR LEVEL "B"
3/ 32" = 1'-0"
A1.1
This document is recorded on or can be transmitted on electronic media It is therefore subject to undetectable alteration or erasure, intentional or unintentional, due to causes including, without limitation transmission, conversion, translation, media degradation, software error, human error or alteration. Accordingly, Pisani + Associates Architects shall not be held liable for claims, losses, damages, or costs arising out of any such alterations or unauthorized re-use or modification of this document or any part thereof.
OWNER
270 DORCHESTER AVE LLC PO BOX 326
South BOSTON MA 02127 tel: 617-529-4114
em: info@270dorchester.com
P+A Project No.14-275 270 DOT AVE
SURVEYOR
BOSTON SURVEY, INC UNIT C-4 SHIPWAYS PLACE CHARLESTOWN MA 02129
tel: 617-242-1313
CIVIL/ TRAFFIC ENGINEER
06 07.25.16 Integrate TAT input
05 05.18.16 CW to TAT
04 05.10.16 Cottowood Scheme
03 01.31.16 PNF Art. 80
02 10.13.15 Parking/reduced height
01 12.20.14 owner scoping session
VANASSE HANGEN BRUSTLIN, INC 99 HIGH STREET
BOSTON, MA 02110
tel: 617-728-7777
STRUCTURAL ENGINEER
McNAMARA/SALVIA, INC. 101 FEDERAL STREET
BOSTON, MA 02110
tel: 617-737-0040
MECHANICAL ENGINEER
M.E.A. ENGINEERING ASSOCIATES, INC. 20 FELTON STREET
WALTHAM MA 02453
tel: 781-894-6730
OWNER'S CONSULTANTS
10.16.16
07 09.20.16 8 Story Scheme
THE CHANDLERY
©
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  | 
STUDIO | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | = | 32
1 BR | 6 | 13 | 13 | 13 | 12 | 12 | 12 | 12 | = | 93
2 BR 1 |  | 4 | 4 | 4 | 3 | 3 | 3 | 3 | = | 25
Totals 11 |  | 21 | 21 | 21 | 19 | 19 | 19 | 19 |  | 150

## Slide 65
KITCHEN
KITCHEN
17 Risers @ 7" = 9'-11"
UP
DN
UP
SECOND, THIRD & FOURTH FLOORS
E
D
C
B A
F
G
H
1
2
3
4
5
6
8
9
7
10
11
12
1
2
3
4
5
6
8
9
7
10
11
12
E
D
C
B A
F
G
H
PLAN
32' NORTH
N
0' 4' 8' GRAPHIC SCALE IN FEET
16'
SITE INFORMATION TAKEN FROM
"SITE PLAN OF LAND" BY BOSTON SURVEY , INC DATED FEBRUARY 14, 2013
STAIR
NO. 2
UNIT 01
2 BR
970 SF
UNIT 05 1BR
675 SF
UNIT 02
2 BR
850 SF
W/D
closet
KITCHEN
UNIT 03
1 BR
585 SF
KITCHEN
KITCHEN
W/D W/D
KITCHEN
MECH
UNIT 07 1BR
675 SF
UNIT 09
1 BR
650SF
UNIT 04
1 BR
675 SF
UNIT 06
1 BR
675 SF
16.0'
UP
DN
STAIR NO. 2
17 Risers @ 7" = 9'-11"
1 BR
695 SF
STUDIO 475 SF
ONE BR
655 SF
UNIT 08
1 BR
780 SF
ELEC/MECH
UP
STUDIO
465 SF
1 BR
705 SF
2 BR
990 SF
1 BR
695 SF
ROOF DECK @ 2nd Fl.
530 SF
M
M
BATHROOM 32"X60" 32"X60" BATHROOM
3068
VANITY 42"
TUB TUB
BATHROOM TUB
32"X60"
BATHROOM TUB
32"X60"
BATHROOM TUB
32"X60"
BATHROOM TUB
32"X60"
M
BATHROOM 32"X60" 32"X60" BATHROOM
3068
VANITY 42"
TUB TUB
3068
VANITY 42"
TUB TUB
BATHROOM 32"X60" 32"X60" BATHROOM
TUB
BATHROOM 32"X60"
M
M
KITCHEN 01
TUB TUB
BATHROOM 32"X60" 32"X60" BATHROOM
KITCHEN 01
M
M
3068
VANITY 42"
STUDIO 475 SF
TUB TUB
BATHROOM 32"X60" 32"X60" BATHROOM
TUB
32"X60" BATHROOM
BATHROOM TUB TUB BATHROOM
32"X60" 32"X60"
TUB
BATHROOM 32"X60"
UTILITY CLOSET
DECK
30 SF
STUDIO 460 SF
595 SF
ONE BR 595 SF
DECK M 30 SF
DECK
30 SF
DECK
30 SF
ONE BR 595 SF
TRASH
PRESSURIZED
ELEVATOR
LOBBY
18 Risers @ 7" = 10'-6"
UP
STAIR NO. 1
KITCHEN 01
UP
DN
COMM. + RESIDENCES @
270 DORCHESTER ST. SOUTH BOSTON MA
14-275
AMP AMP
2 ND, 3 RD & 4 TH FLOORS
3/ 32" = 1'-0"
A1.2
This document is recorded on or can be transmitted on electronic media It is therefore subject to undetectable alteration or erasure, intentional or unintentional, due to causes including, without limitation transmission, conversion, translation, media degradation, software error, human error or alteration. Accordingly, Pisani + Associates Architects shall not be held liable for claims, losses, damages, or costs arising out of any such alterations or unauthorized re-use or modification of this document or any part thereof.
P+A Project No.14-275C.8 270 DOT AVE
01 01.31.16 PNF Art. 80
OWNER
270 DORCHESTER AVE LLC PO BOX 326
SOUTH BOSTON MA 02127 tel: 617-529-4114
em: info@270dorchester.com
SURVEYOR
BOSTON SURVEY, INC UNIT C-4 SHIPWAYS PLACE CHARLESTOWN MA 02129
tel: 617-242-1313
CIVIL/ TRAFFIC ENGINEER
M.E.A. ENGINEERING ASSOCIATES, INC. 20 FELTON STREET
WALTHAM MA 02453
tel: 781-894-6730
VANASSE HANGEN BRUSTLIN, INC 99 HIGH STREET
BOSTON, MA 02110
tel: 617-728-7777
STRUCTURAL ENGINEER
McNAMARA/SALVIA, INC. 101 FEDERAL STREET
BOSTON, MA 02110
tel: 617-737-0040
MECHANICAL ENGINEER
OWNER'S CONSULTANTS
10.16.2016
02 08.29.16 PNF Art. 80
THE CHANDLERY
©

## Slide 66
KITCHEN
KITCHEN
17 Risers @ 7" = 9'-11"
UP
DN
UP
STAIR
NO. 2
W/D
closet
KITCHEN
KITCHEN
KITCHEN
W/D W/D
KITCHEN
MECH
UP
DN
UP
BATHROOM TUB
32"X60"
BATHROOM TUB
32"X60"
M
BATHROOM 32"X60"
TUB TUB
32"X60" BATHROOM
TUB
32"X60" BATHROOM
BATHROOM TUB TUB BATHROOM
32"X60" 32"X60"
TUB
BATHROOM 32"X60"
UTILITY CLOSET
TUB BATHROOM
32"X60"
18 Risers @ 7" = 10'-6"
UP
N
M
M
UP
DN
COMM. + RESIDENCES @
270 DORCHESTER ST. SOUTH BOSTON MA
14-275
AMP AMP
5th- 8th FLOORS 3/ 32" = 1'-0"
A1.3
This document is recorded on or can be transmitted on electronic media It is therefore subject to undetectable alteration or erasure, intentional or unintentional, due to causes including, without limitation transmission, conversion, translation, media degradation, software error, human error or alteration. Accordingly, Pisani + Associates Architects shall not be held liable for claims, losses, damages, or costs arising out of any such alterations or unauthorized re-use or modification of this document or any part thereof.
P+A Project No.14-275 270 DOT AVE
03 09.20.16 8 Storey Scheme
02 08.29.16 PNF Art. 80
01 01.31.16 PNF Art. 80
OWNER
270 DORCHESTER AVE LLC PO BOX 506
MILTON MA 02186
tel: 617-529-4114
em: info@270dorchester.com
OWNER'S CONSULTANTS SURVEYOR
BOSTON SURVEY, INC UNIT C-4 SHIPWAYS PLACE CHARLESTOWN MA 02129
tel: 617-242-1313
CIVIL/ TRAFFIC ENGINEER
VANASSE HANGEN BRUSTLIN, INC 99 HIGH STREET
BOSTON, MA 02110
tel: 617-728-7777
STRUCTURAL ENGINEER
McNAMARA/SALVIA, INC. 101 FEDERAL STREET
BOSTON, MA 02110
tel: 617-737-0040
MECHANICAL ENGINEER
M.E.A. ENGINEERING ASSOCIATES, INC. 20 FELTON STREET
WALTHAM MA 02453
tel: 781-894-6730
10.16.16
THE CHANDLERY
©
 | 1 2 3 4 5 6 7 8 9 10 11 12 H H G M DECK DECK M DECK DECK M G 30 SF 30 SF 30 SF 30 SF STUDIO ONE BR ONE BR ONE BR ONE BR 460SF 595 SF 595 SF 595 SF 655 SF UNIT 09 2 BR 880 SF PRESSURIZED ELEVATOR STAIR LOBBY NO. 1 KITCHEN 01 KITCHEN 01 KITCHEN 01 KITCHEN 01 F UNIT 07 F TUB TUB 1BR BATHROOM 32"X60" 32"X60" BATHROOM BATHROOM TUB TUB 32"X60" 32"X60" BATHROOM 675 SF TUB BATHROOM 32"X60" TRASH STAIR NO. 2 VANITY 42" VANITY 42" VANITY 42" VANITY 42" 17 Risers @ 7" = 9'-11" TUB TUB TUB TUB BATHROOM 32"X60" 32"X60" BATHROOM BATHROOM 32"X60" 32"X60" BATHROOM ELEC/MECH 3068 3068 3068 3068 E UNIT 05 E 1BR 675 SF UNIT 06 UNIT 08 2 BR 1 BR 1 BR STUDIO STUDIO 1 BR 990 SF UNIT 03 675 SF 780 SF 475 SF 475 SF 695 SF 1 BR 585 SF D D M M SSTTUUDDIIOO 465 SF UNIT 04 1 BR 675 SF C C UNIT 01 ROOF DECK @ 5th Fl. 2 BR 1,430 SF 970 SF UNIT 02 2 BR 850 SF B B A A 1 2 3 4 5 6 7 8 9 10 11 12 FIFTH thru EIGHTH FLOORS PLAN 0' 4' 8' 16' 32' NORTH GRAPHIC SCALE IN FEET SITE INFORMATION TAKEN FROM "SITE PLAN OF LAND" BY BOSTON SURVEY , INC DATED FEBRUARY 14, 2013 | 

## Slide 67
KITCHEN
17 Risers @ 7" = 9'-11"
UP
DN
UP
ROOF PLAN
18 Risers @ 7" = 10'-6"
DN UP
E
D
C
B A
F
G
H
1
2
3
4
5
6
8
9
7
10
11
12
1
2
3
4
5
6
8
9
10
11
12
E
D
C
B A
F
G
H
PLAN
7
STUDIO
470 SF
32' NORTH
N
0' 4' 8' GRAPHIC SCALE IN FEET
16'
SITE INFORMATION TAKEN FROM
"SITE PLAN OF LAND" BY BOSTON SURVEY , INC DATED FEBRUARY 14, 2013
STAIR
STAIR
NO. 2
MECH
MECH
MECH
MECH MECH MECH
MECH
UPPER ROOF DECK
see LANDSCAPE DRAWINGS FOR EXTENT
115'-0"
LOWER ROOF DECK
see LANDSCAPE DRAWINGS FOR EXTENT
65'-0"
UPPER ROOF DECK
see LANDSCAPE DRAWINGS FOR EXTENT
115'-0"
PRESSURIZED
ELEVATOR
LOBBY
18 Risers @ 7" = 10'-6"
UP
STAIR NO. 1
DN
This document is recorded on or can be transmitted on electronic media It is therefore subject to undetectable alteration or erasure, intentional or unintentional, due to causes including, without limitation transmission, conversion, translation, media degradation, software error, human error or alteration. Accordingly, Pisani + Associates Architects shall not be held liable for claims, losses, damages, or costs arising out of any such alterations or unauthorized re-use or modification of this document or any part thereof.
P+A Project No.14-275 270 DOT AVE
OWNER
270 DORCHESTER AVE LLC PO BOX 506
MILTON MA 02186
tel: 617-529-4114
em: info@270dorchester.com
OWNER'S CONSULTANTS
SURVEYOR
BOSTON SURVEY, INC UNIT C-4 SHIPWAYS PLACE CHARLESTOWN MA 02129
tel: 617-242-1313
CIVIL/ TRAFFIC ENGINEER
VANASSE HANGEN BRUSTLIN, INC 99 HIGH STREET
BOSTON, MA 02110
tel: 617-728-7777
STRUCTURAL ENGINEER
McNAMARA/SALVIA, INC. 101 FEDERAL STREET
BOSTON, MA 02110
tel: 617-737-0040
MECHANICAL ENGINEER
M.E.A. ENGINEERING ASSOCIATES, INC. 20 FELTON STREET
WALTHAM MA 02453
tel: 781-894-6730
THE CHANDLERY
©
01 | 01.31.16 | PNF Art. 80
COMM. + RESIDENCES @ 270 DORCHESTER ST. SOUTH BOSTON MA 14-275 |  | 
AMP AMP |  | 
ROOF PLAN 3 / 32" = 1'-0" |  | 
A1R.5 |  | 

## Slide 68
24.5'
RAISED PLAZA
28.5' see Landscape dwgs
17.5'
15.5'
DORCHESTER AVENUE PLANTERS
B STREET
10'-6"
EXISTING GRADE
EXISTING BLDG.
TO BE REMOVED
FLOOR 2
FLOOR 3
FLOOR 4
FLOOR 5
FLOOR 6
15.0'
10'-6"
10'-6"
10'-6"
10'-6"
-0'-8"'
20.0'
14'-3"
49'-0"
1A CONSTRUCTION
BROKEN
1" INSUL GL w/
90% ARGON INSULATED METAL PANEL EXTERIOR
COMPOSITE SECTION
RAISED SIDEWALK
see Landscape dwgs
GLAZED ALUMIN
FRAMING THERMALLY
BROKEN
1" INSUL GL w/
90% ARGON
GLAZED ALUMIN
FRAMING THERMALLY BROKEN
1" INSUL GL w/
90% ARGON
25.0'
AUTOMATED PARKING SYSTEM BASED ON PARKMATIC CAR
PARKING SYSTEM
37 VEHICLES THIS LEVEL
FLOOR 8
ROOF DECK
see Landscape dwgs.
10'-6"
INSULATED METAL PANEL EXTERIOR
GLAZED ALUMIN
FRAMING THERMALLY
FLOOR 7
AUTOMATED PARKING SYSTEM
BASED ON PARKMATIC CAR PARKING SYSTEM
100 VEHICLES THIS LEVEL
Est. ELEV. of RR Tracks
25'-7"
23.0'
22.0'
21.0'
20.0'
19.0'
18.0'
17.0'
16.0'
15.0'
14.0'
13.0'
12.0'
11.0'
10.0'
9 .0'
8 .0'
7 .0'
6 .0'
5 .0'
4 .0'
3 .0'
2 .0'
1 .0'
0 .0'
25.0'
24.0'
-1
-2 .0'
88'-5"
25.5'
3'-0"
12'-0"
This document is recorded on or can be transmitted on electronic media It is therefore subject to undetectable alteration or erasure, intentional or unintentional, due to causes including, without limitation transmission, conversion, translation, media degradation, software error, human error or alteration. Accordingly, Pisani + Associates
Architects shall not be held liable for claims, losses, damages,
or costs arising out of any such alterations or unauthorized re-use or modification of this document or any part thereof.
P+A Project No.14-275 270 DOT AVE
OWNER
270 DORCHESTER AVE LLC PO BOX 506
MILTON MA 02186
tel: 617-529-4114
em: info@270dorchester.com
SURVEYOR
BOSTON SURVEY, INC UNIT C-4 SHIPWAYS PLACE CHARLESTOWN MA 02129
tel: 617-242-1313
CIVIL/ TRAFFIC ENGINEER
VANASSE HANGEN BRUSTLIN, INC 99 HIGH STREET
BOSTON, MA 02110
tel: 617-728-7777
STRUCTURAL ENGINEER
McNAMARA/SALVIA, INC. 101 FEDERAL STREET
BOSTON, MA 02110
tel: 617-737-0040
MECHANICAL ENGINEER
M.E.A. ENGINEERING ASSOCIATES, INC. 20 FELTON STREET
WALTHAM MA 02453
tel: 781-894-6730
OWNER'S CONSULTANTS
10.10.16
THE CHANDLERY
©
03 | 09.20.16 | revised Parking
02 | 03.13.16 | revised Parking
01 | 00.00.00 | owner scoping session
COMM. + RESIDENCES @ 270 DORCHESTER ST. SOUTH BOSTON MA 14-275 |  | 
AMP AMP |  | 
COMPOSITE SECTION Three Level Pkg. 1/ 8" = 1'-0" |  | 
A3.1 |  | 

## Slide 69
THE CHANDLERY
©